Project Technical Summary

1. Handling Missing Data and Anomalies

- Anomaly Detection: We used the 1.5x Interquartile Range (IQR) method on the demand_mw column to identify physical outliers (e.g., impossible spikes or zero-readings during high-load periods). These were replaced with NaN to prevent model distortion.

- Missing Data:

  - Resampling: Data was resampled to a strict 1-hour frequency using the mean, which naturally handles duplicate timestamps and mixed 30/60-minute recording intervals.

  - KNN Imputation: A K-Nearest Neighbors (KNN) imputer was used to fill gaps in renewable sources (Solar/Wind) and the cleaned demand column, using the values of the 5 most similar historical hours to ensure physical consistency.

2. Feature Engineering Logic

- Temporal Features: Created hour, dayofweek, and is_weekend (specific to Bangladesh's Friday/Saturday weekend). Cyclical encoding (Sine/Cosine) was applied to hours and months to help the trees understand that hour 23 is close to hour 0.

- Lag Features: Included demand from 1h, 24h, and 168h prior. These are crucial because power demand is highly auto-correlated (today looks like yesterday, and this week looks like last week).

- External Features:

  - Weather: Included temperature and humidity as they directly drive cooling/heating loads.

  - Economic: Integrated GDP and urbanization metrics to provide a "long-term trend" signal to the model, reflecting the overall growth of the power grid.

3. Key Insights from Feature Importance

- Dominant Predictor: The 1-hour lag (demand_lag_1h) and 24-hour lag (demand_lag_24h) are the most significant features, indicating that current demand is the strongest indicator of the next hour's load.

- Temporal Signal: The hour of the day ranks very high, confirming the grid's rigid daily cycle (peak vs. off-peak).

- Weather Impact: temperature_2m is the most significant non-grid feature. The model relies heavily on this to predict load surges during the hot summer months in Dhaka.

- Long-term Trends: Economic indicators (econ_0, etc.) provide a baseline that accounts for the year-over-year growth in Bangladesh's total power consumption.